SECTION 11451 -  APPLIANCES

- GENERAL

      - SECTION REQUIREMENTS

        - Submittals:  Product Data.

- PRODUCTS

      - APPLIANCES

        - Refrigerator: As Scheduled

        - Microwave: As Scheduled

- EXECUTION

      - INSTALLATION

        - Built-in Appliances:  Securely anchor to supporting cabinetry or countertops with concealed fasteners.  Verify that clearances are adequate for proper functioning and rough openings are completely concealed.

        - Freestanding Appliances:  Place in final locations after finishes have been completed in each area.  Verify that clearances are adequate to properly operate equipment.

END OF SECTION 11451