SECTION 16050 - GENERAL ELECTRICAL REOUIREMENTS

PART 1 GENERAL

1.1 SECTION INCLUDES

- General Information on Electrical Installation not covered elsewhere. This section applies to all other

electrical sections.

1.2 DEFINITIONS

- For the purposes of this contract, the term ”Provide" shall mean to provide all labor , material,

transportation, and supervision required to furnish and install.

1.3 PROJECT DESCRIPTION:

- See Project General Notes in electrical drawings for project description.

1.4 INTERPRETATION:

- Specifications and Drawings shall be considered as supplementary to each other, requiring materials

and labor indicated, specified, or implied by either Specifications or Drawings. Contradictions shall be

presented to the Architect/Engineer for resolution.

- Interpretation of Specifications or Drawings, where deemed necessary, shall be made only by the

Architect/Engineer.

1.5 CODES, STANDARDS, ORDINANCES, AND PERMITS:

- The National Electric Code (NEC), National Electric Safety Code, Florida Building Code, and OSHA

shall establish the minimum requirements for installation, but in addition, all work shall also comply

with Federal, State, Local, County or Municipal Code requirements. If there is a conflict between the

NEC and these codes, conform to the more stringent of the two. Similarly, if the local Authority

Having Jurisdiction has not adopted the latest revision of the NEC and is still using an earlier version,

conform to the more stringent of the two.

- Be familiar with local code requirements and local Utility Company Standards for electrical service

requirements, and make installation in accordance with such requirements.

- In case of conflict between the Contract Documents and a governing code or ordinance, such conflict

shall be immediately brought to the attention of the Architect/Engineer for resolution. Extra payment

will not be allowed for work required by code restrictions except through written agreement with the

Architect/Engineer.

- Apply for, obtain, and pay for all required permits and inspection certificates. Final payment is

contingent upon delivery of such permits and certificates to the GOVERNMENT.

1.6 SITE INSPECTION:

- Visit the site and thoroughly inspect conditions affecting the work before submitting bid. Assume

responsibility for meeting all existing conditions including access and work space limitations.

1.7 CUTTING AND PATCHING:

- Refer to Section on Cutting and Patching.

- Place all sleeves, inserts, conduit hangers, etc. as construction progresses to avoid any unnecessary

cutting of structural members. Cooperate with other Contractors in location of electrical outlets that

may conflict with location of other equipment.

- Obtain authorization from the GOVERNMENT for any necessary cutting of building structure to

facilitate installation of this work and do not proceed until authorization has been received. Limit

necessary cutting and patching to the minimum size required for installation of conduit or apparatus.

1.8 SUBMITTALS:

- Submit Shop Drawings, catalog sheets, or other descriptive data with sufficient information to establish

design, quality and performance. Data shall describe apparatus, equipment, panels, fixtures, and

other items requiring descriptive literature. Provide submittals as a single package including all

required electrical items. Partial packages will not be reviewed. Submittal items shall be in

accordance with the individual specification sections. See Project General Notes in electrical

drawings for a list of required submittals.

1.9 MAINTENANCE DATA:

- Collect and neatly retain maintenance and service data supplied with equipment furnished and

installed under this Contract until job completion, at which time deliver to the GOVERNMENT for

inclusion in the Maintenance Manual. All such data must be properly identified as for equipment

served.

- Keep one set of prints current of any changes or variations by marking prints in a legible manner, and

upon completion of project, deliver prints to the GOVERNMENT. Do not make changes without prior

approval of the GOVERNMENT.

1.10 TEMPORARY ELECTRIC SERVICE:

- Provide complete temporary system of power and lighting wiring for use during construction and for

testing of equipment. Comply with OSHA and NEC including personnel ground-fault protection

requirements.

1.11 ELECTRIC SERVICE:

- Provide medium voltage electrical service and service transformer as indicated. Exact locations

shown for service are approximate and tentative. Contact Utility in advance and verify availability of

electrical service as indicated. Confirm primary system voltage.

- Provide all labor, materials and equipment not provided by the Utility in accordance with Utilities'

installation policies and procedures without additional cost. Should a significant installation conflict

occur, notify the Engineer immediately for resolution before starting any work.

1.12 TELEPHONE SERVICE

- Provide all labor, materials and equipment not provided by the telephone company in accordance

with the telephone company's installation policies and procedures without additional cost. Should a

significant installation conflict occur, notify the GOVERNMENT immediately for resolution before

starting any work.

1.13 COORDINATION - GENERAL:

- Drawings are generally diagrammatic. Review all project Drawings and coordinate all work with

General Contractor and different trades prior to installing any work so that interferences between

electrical work and ducts, piping, equipment, architectural and structural work will be avoided. Do not

install conduits, boxes and fittings in spaces required for ductwork or piping.

- Furnish all necessary offsets in raceways, fittings, etc., required to properly install work so as to take

up minimum space. Install all equipment to provide code required ·working space. Furnish and

install all materials required to accomplish this without additional cost.

- In case interference develops, the General Contractor will decide which trade work must be relocated

regardless of which was installed first. Damage from interference or rework caused by inadequate

coordination with other trades shall be rectified without additional cost.

1.14 COORDINATION – ELECTRICAL/MECHANICAL:

- Unless specifically required otherwise, all motors, integral starters, control and monitoring devices

(including wire and conduit for control circuits). timers, relays, pilot devices and other required control

components for mechanical systems will be furnished and installed under Division 15.

- Unless specifically required otherwise, make all power wiring connections to all water heaters,

pumps, machinery, appliances, water coolers and other electrically-operated equipment as indicated

on the Drawings or as required. Furnish and install disconnect switches, starters and protective

devices as indicated on the Drawings, except for items furnished with integral disconnect switches

and/or starters. Coordinate the exact location of receptacles, flexible conduit, and disconnects for

mechanical and plumbing equipment with the mechanical or plumbing contractor.

- Review approved Shop Drawings and verify final electrical characteristics and wiring before rough·in

of power feeds to any equipment. When electrical data on approved Shop Drawings differs from

contemplated design, make necessary adjustments to wiring, disconnect, and branch·circuit

protection for equipment actually installed.

1.15 WORKING CLEARANCES:

- Working clearances around electrical equipment requiring service shall comply with NEC

requirements. Coordinate and verify clearances from equipment and work furnished by other trades.

Should there be any apparent violations of clearance requirements, notify the Design Build Contractor

before proceeding with connection or placement of equipment. Rework caused by inadequate

coordination shall be rectified at no extra cost.

PART 2 - PRODUCTS:

2.1 MATERIALS:

- All materials used in this project shall be new, unless otherwise noted, and listed by the Underwriters'

Laboratories, Inc. as conforming to its standards where such standards have been established.

These materials shall bear the UL label.

- Before purchasing any equipment, the contractor shall reconfirm the availability of the project's

voltage, phase (single phase versus three phase), and service configuration with the electric utility.

PART 3 EXECUTION

3.1 CLEANUP

- After electrical installation, remove all rubbish, trash and debris from the site and dispose of in an

approved manner.

END OF SECTION