SECTION 02361 - TERMITE CONTROL

- GENERAL

      - SECTION REQUIREMENTS

        - Submittals:  Product Data and product certificates signed by manufacturer certifying that products used comply with U.S. EPA regulations for termiticides.  Include application instructions and EPA-Registered Label.

        - Engage a licensed professional pest control operator to apply termite control solution.

- PRODUCTS

      - TERMITICIDES

        - Provide an EPA-registered termiticide complying with requirements of authorities having jurisdiction, in a soluable or emulsible, concentrated formulation that dilutes with water or foaming agent.  Use only soil treatment solutions that are not harmful to plants.  Provide quantity required for application at the label volume and rate for the maximum termiticide concentration allowed for each specific use, according to the product's EPA-Registered Label.

- EXECUTION

      - INSTALLATION

        - Prepare surfaces and apply treatment at rates and concentrations recommended in manufacturer's written instructions.

        - Apply termite control to the following:

          - At foundations.

          - Under concrete floor slabs on grade.

          - Under basement floor slabs.

          - At hollow masonry.

          - At expansion and control joints and slab penetrations.

          - At crawlspaces; treat soil under and adjacent to foundations.  Treat adjacent areas including around entrance platform, porches, and equipment bases.  Apply overall treatment only where attached concrete platform and porches are on fill or ground.

        - Post warning signs in areas of application.

        - Reapply soil termiticide treatment solution to areas disturbed by subsequent excavation or other construction activities following application.

END OF SECTION 02361