SECTION 10431 - SIGNS

- GENERAL

      - SECTION REQUIREMENTS

        - Submittals:  Product Data, Shop Drawings, and material Samples.

          - Submit full-size rubbings for metal plaques.

        - Provide electrical components that are labeled and listed by UL and that comply with applicable NEMA standards.

- PRODUCTS

      - MATERIALS

        - Acrylic Sheet:  Cast methyl methacrylate sheet; clear, translucent, or opaque as indicated.

- SIGNS

- Unframed Panel Signs: Enamel-filled, reverse-engraved clear acrylic or reverse silk-screened clear acrylic with opaque background with square-cut edges and square corners.

          - Provide signs for all rooms mounted on the room door.

- EXECUTION

      - INSTALLATION

        - Locate signs where indicated or directed by Architect.  Install level, plumb, and at height indicated, with sign surfaces free from distortion or other defects in appearance.

END OF SECTION 10431